## Sheet1
Performance Evaluation Panel ID: | [9 empty] | Country: | [7 empty] | Submission Due Date:
Instructions: Fill in the circles below corresponding to the results from testing each sample provided. Document the error code in the Error Code column for tests resulting in error. Record the cycle thresholds (Ct) in the cells provided for all successful tests. Fill information on back of form for records.
Name of Site | [13 empty] | Date Panel Received |  |  |  | Date Results Reported
Site PT-ID Number
Date of Last GeneXpert Instrument Calibration
ePT Username | [13 empty] | Assay |  |  |  |  | MTB/RIF MTB/RIF Ultra
Xpert MTB/RIF Kit Lot Number
ePT Password | [13 empty] | Xpert MTB/RIF Cartridge Expiry Date
|  | TB Detection Result | [5 empty] | Rif Result |  |  |  | Uninterpretable Result |  |  |  | Cycle Threshold (Ct) Value
Test Sample ID | Date Tested | NOT DETECTED | TRACE | VERY LOW | LOW | MEDIUM | HIGH | N/A | NOT DETECTED | DETECTED | Indeterminate | INVALID | NO RESULT | ERROR | ERROR CODE | Probe D / Ultra SPC | Probe C / IS1081-IS6110 | Probe E / rpoB1 | Probe B / rpoB2 | SPC / rpoB3 | Probe A / rpoB4 | Xpert Module Number
Example | 43235 | [14 empty] | 23.4 | 23.2 | 24.1 | 23.9 | 26.5 | 23.1 | A3
Comments:
This form is for your site's performance evaluation records only. All results must be submitted in ePT at http://ept.systemone.id using your username and password above.
Additional Information needed for ePT
How many Xpert MTB/RIF tests have been conducted by this site in the last full month? | [13 empty] | ATTESTATION We the undersigned, recognizing that some special handling may be required due to the nature of Performance Evaluation (PE) materials, have as closely as is practical, performed the analyses on these specimens in the same manner as regular patient specimens. We confirm that results were not shared, nor PE specimens referred or tested, outside of our facility. Laboratory Manager (or Designee) ____________________ Date:______ Testing Personnel _______________________ Date:______________ Testing Personnel _______________________ Date:______________
How many errors occurred during testing in the last full month?
What were the error codes?
Was monthly maintenance done for the GeneXpert? |  |  |  |  | Yes / No
Monthly maintenance done by: Date / Technologist |  |  |  |  | /
GeneXpert Serial Number
Date GX Instrument Installed
Instrument User (Tester)
Did supervisor review panel results? |  |  |  |  | Yes / No
Supervisor name:
Please fill information on back of form

## Sheet2
we